## Slide 1: ECE 419/619 Electric Machines and Drives Dc Machines

## Slide 2: DC Machines (Chapter 2)
Electrical terminals:
Field vf, if - establishes stator poles
Armature va, ia - establishes rotor poles at 90º to
stator poles regardless of rotor position

## Slide 3: Dc Machine Cross-Section qr = 45o
N
S
N
S

## Slide 4
N
S
N
S
Dc Machine Cross-Section qr = 67.5o

## Slide 5
Induced Armature Voltage (Back-EMF)

## Slide 6: DC Motor Electrical Model
va = armature voltage (V)
ia = armature current (A)
ra = armature resistance (Ω)
LAA = armature inductance (H)
LAF = armature to field inductance (H)
vf = field voltage (V)
if = field current (A)
rf = field resistance (Ω)
LFF = field inductance (H)
armature equation
field equation
dc motor torque

## Slide 7: Mechanical Equations
Te - electrical torque (N∙m)
TL - load torque (N∙m)
wr - mechanical speed (rad/sec)
qr - mechanical rotor position (rad)
Bm - friction constant (Kg∙m2/sec)
J - total inertia (Kg∙m2)
also
Note: Model is same regardless
of number of poles

## Slide 8: Permanent-Magnet DC Motor
Magnet has the effect of constant if
define kv = LAF if
kv - back-emf constant or
torque constant (N∙m/A)=(V∙s)
steady-state with Bm=0

## Slide 9: Permanent-Magnet Dc Motor Characteristic
Vt = Vt1
Vt = Vt2
Vt1 > Vt2

## Slide 10
Dc Machine Advantages
Simple Control
Low cost (for dc and single-phase ac applications)
Dc Machine Disadvantages
Maintenance (brush wear)
Electromagnetic radiation (brush/commutator)

## Slide 11: Electric Circuit Analogies
torque-voltage analogy
torque-current analogy
mechanical equation

## Slide 12: Permanent-Magnet DC Motor Modeling
define
electrical circuit compresst with the mechanical circuit

## Slide 13: PMDC Motor Approximate Analysis
neglect friction (Bm=0), no-load TL=0
start-up waveforms
time constants
typically, tm >> ta
note: steady-state
no-load speed

## Slide 14: PMDC Transfer Function
Natural frequency
Damping ratio
Neglect friction, Bm=0. No-load, TL=0.
start-up examples

## Slide 15: PMDC Example Calculations

## Slide 16: PMDC Calculations (Under-damped Case)

## Slide 17: PMDC Calculations (Over-damped Case)

## Slide 18: 1. Circuit-Based Simulation
using PSIM 9.1

## Slide 19: Circuit Simulation (Under-Damped)

## Slide 20: Circuit Simulation (Over-Damped)

## Slide 21: 2. Block Diagram Simulation of Differential Equations
Write important equations in terms of the highest derivative
Integrator outputs are states
Avoid using blocks
All loops must contain integrators
using Simulink R2010b

## Slide 22: Block Diagram Simulation (Under-Damped)

## Slide 23: Block Diagram Simulation (Over-Damped)

## Slide 24: 3. Transfer Function Simulation (Controller Canonical Form)
for the PMDC machine wr/va transfer function

## Slide 25: Transfer Function Simulation (Observer Canonical Form)

## Slide 26: Higher Order Numerator Functions

## Slide 27: 4. Mixed Circuit / Block Diagram Simulation
using PSCAD v4.2

## Slide 28: Mixed Circuit / Block Diagram Simulation (Under-Damped Case)

## Slide 29: Mixed Circuit / Block Diagram Simulation (Over-Damped Case)

## Slide 30: 5. Pre-Programmed Models
using Simulink R2010b
SimPowerSystems

## Slide 31: Pre-Programmed Model Simulation (Under-Damped)

## Slide 32: Pre-Programmed Model Simulation (Over-Damped)

## Slide 33
Simulation Methods
1. Equivalent circuit form - Easy for building electrical circuits. Good for connection to motor drive simulation. Requires circuit analogy for mechanical system.
2. Block diagram form – Produces highly efficient simulation. Requires manual manipulation of equations.
3. Transfer function simulation - Direct simulation of transfer functions. Sometimes states are not representative of physical quantities.
4. Mixed circuit / block diagram form - Good for interfacing to drive simulations.
5. Pre-programmed model - Good for classical machines and power circuits (PSCAD, SimPowerSystems, etc.)

## Slide 34: PMDC Motor Model
model inputs
model outputs
model equations
some types of load cases
Case 1: no-load
Case 2: fan load
Case 3: constant load

## Slide 35: Case 1: No-Load
Machine equations in Laplace form 

## Slide 36: No-Load Case, ia/va

## Slide 37
transfer function denominator
put in form

## Slide 38
step input
partial fraction expansion
and inverse Laplace transform
for start-up,
equations 2D-29 and 2D-30 in book

## Slide 39
Closed Form Equations (Under-Damped Case)

## Slide 40
Closed Form Equations (Over-Damped Case)

## Slide 41: Case 2: Fan Load
Linearize about an operating point
works for small

## Slide 42: Development of Linearized Equations
steady-state operating point
delta equations
voltage equation
torque and mechanical equation
model variables

## Slide 43: Fan Load Transfer Function

## Slide 44
Fan Load Example

## Slide 45
Fan Load Example Constants

## Slide 46
Fan Load Example Torque Characteristic

## Slide 47: Case 3: Constant Load

## Slide 48
Dc Machine Transfer Functions
For no-load, the closed form solution was found (as in the book example)
For fan and constant loads, a transfer function can be found from the linearized equations